HYDRO-MAX

HM-300

HYDRAULICALLY-DRIVEN

### AC GENERATOR

# BY

\

| QUALITY FEATURES |
| --- |
| Brushless AC Generator | Includes Pressure Compensating Flow Regulator |
| Maintenance Free Design | Lifetime Guaranteed Alignment |
| SPECIFICATIONS |
| Flow = | 7.5 GPM | Volts = | 120 or 120/240 |
| Pressure = | 1700 PSI | Amps = | 25 @ 120 V |
| Speed = | 3600 RPM | Watts = | 3,000 Continuous |
| Weight = | 54 Lbs | Power Factor = | 1.0 |
| Dimensions = | 7” W * 8” H * 22.5” L | Temperature Rating = | 105 C |

# Text boxes

120 /
240 V
60 Hz

3000
Watts
1 Phase

(845)-292-0800
http://www.geteck.com

FERNDALE, NY 12734